## Slide 1
Dipl.-Ing. Guy Kabengele
Consultant Biogas Technology
Lecturer HTW-Berlin
Rethinking Africa’s biogas Plant Path
-From Potential to Reality
Afrikas Weg zu Biogasanlagen neu denken
-Vom Potenzial zur Realität
(Slide in English/Presentation in German)
20th Wipro – Energy Forum

## Slide 2
1. Introduction
2. Potential
3. Lessons learned
4. Rethink
Overview
2

## Slide 3
Point of View /Observations of my biogas expertise for industrial biogas plant projects in Africa as planner, designer, consultant, Backstopper in the past 20 years.
Today, Not focusing on household/domestic/rural digester who are for cooking and fertilizer for own consumption
3
My Experiences in Africa context

## Slide 4: Example of industrial Biogas Plant Sisal Waste from Process Production
Input: 65 m³/d sisalwaste
Parameter: Digester: 2 200 m³ Afterstorage: 1800 m³ CHP: 2 x 180 kWele

## Slide 5
Jatropha press cake;
Brewery waste;
POME;
Cocao;
Cassava waste;
Flower waste;
Fruit waste ( Pineapple, Mango, Papaya,…)
Water hyacinth;
…
Sisal
“Exotic “Organic Waste
Farm (Cow/pig/Chicken)-waste;
Slaughterhouse;
Bio/Kitchen Waste;
Sewage/wastewater sludge
Classic Organic Waste
Large amount of “unused” organic waste available;
Untapped potential for renewable energy solutions;
Challenge on electrical supply, fertilizer or environmental aspects
Potential Organic Waste

## Slide 6: Africa Electricity Consumption Development in a decade
Around 60% of the population resides in rural areas where
there is minimal or no access to electricity (Roopnarain
and Adeleke 2017)
…. Industrial demand increase,
… Population amount increase,
….Biomass not concurrent to other renewable Energy
like wind, solar, hydro, geotherm

## Slide 7
PROCESS DESIGN
BASIC CALCULATION
DRAFT LAYOUT
…. Feasibility Study
….Installation, Supervision, Start-Up
….Commissioning, Training and Hand-over
7
Biogas Plant Engineering

## Slide 8: Lessons learned (I)
Funding remains biggest problem:
High capital investment,
poor access to clean energy financing,
very high interest rates on bank loans
Reliable cooperation partners on site / network partners;
Forecasting and anticipating additional activities to plant running:
Long term Co-substrate contract,
Market for fertilizer
Timeline of project implementation;
Less reference of existing industrial plants and experience exchange;
Purchase of equipment on local market more expensive:
Cost trap, Risk cost explosion in construction;

## Slide 9: Lessons learned (II)
Hard to find adequate staff and skilled workers and link them to the project:
- Staff turnover very high
Maintenance cycle and facilities management is not optimal;
So far no model comparable to the renewable Energy Act (EEG);
Prioritized decentralized and Power Auto-consumption then difficult negotiations with grid operators
…
In conclusion, several key barriers impede progress
Financial and Economic
Technical and Infrastructural
Market and Awareness

## Slide 10: Deduction from the experiences and Rethinking (I) Technology, Process, Economic, and Management Aspects
Extend the assistance and operating over the Hand-over and training period;
Maximizing the possibilities for adding value to the biogas plant's output beside electricity or biomethane (e.g. effluent as fertilizer, heat/cold conversion, Biogas bypass to Worker's camp etc.);
Technology flexibility (Viability of some components), if possible, regional/local suppliers;
Outreach with Keys-players (authorities, associations, etc.) from earlier level to clarify and resolve uncertainties;;
Involvement in discussions with banks and lenders for credit lines;
Provide a framework for local experience exchange; trade fair, workshop;
Prioritized decentralized and self-consumption model due to difficult negotiations with grid operators;
10
Notes: Concept for effluent as fertilizer

## Slide 11: Deduction from the experiences and Rethinking (II) Technology, Process, Economic, and Management Aspects
Prioritized decentralized and self-consumption model due to difficult negotiations with grid operators;
Not single projects, but multiple projects simultaneously;
Implement standard framework for biogasplant through an organization like TÜV, and establish a penalty register;
Build Interdisciplinary team;
…..
11
Notes: Concept for effluent as fertilizer

## Slide 12
E-Mail: kabenge@htw-berlin.de
g.kabengele@email.de
Skype: g.kabengele
Zoom ID: 270 651 0983